## Demand
Peak
| Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation
|  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
| Atlanta | Baseline | 1.1379 | 0.99264 | 0.53179 | 0.99264 | 0.82908 | 0.53179 | 1.5312 | 1.1772 | NaN | 2 kW | Atlanta | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | Baseline |  | Atlanta | Eff | Baseline | 12.77% | 53.27% | 12.77% | 27.14% | 53.27% | -34.56% | -3.452% | NaN
|  | Shed | 0.47316 | 0.52487 | NaN | NaN | 0.58719 | 0.26118 | 0.80996 | 0.55974 | NaN |  |  | Shed | 58.42% | 47.12% | NaN | NaN | 29.18% | 50.89% | 47.1% | 52.45% | NaN |  |  | Shed | 58.42% | 53.87% | NaN | NaN | 48.4% | 77.05% | 28.82% | 50.81% | NaN
|  | Shift | 0.71335 | 0.58304 | NaN | NaN | 0.69006 | 0.29856 | 0.9034 | 0.49573 | 0.35738 |  |  | Shift | 37.31% | 41.26% | NaN | NaN | 16.77% | 43.86% | 41% | 57.89% | NaN |  |  | Shift | 37.31% | 48.76% | NaN | NaN | 39.36% | 73.76% | 20.61% | 56.44% | 68.59%
| Buffalo | Baseline | 0.16821 | 0.25914 | 0.17034 | 0.29589 | 0.24338 | 0.17034 | 0.26212 | 0.1942 | NaN |  | Buffalo | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | Baseline |  | Buffalo | Eff | Baseline | -54.06% | -1.272% | -75.91% | -44.69% | -1.272% | -55.83% | -15.45% | NaN
|  | Shed | 0.14941 | 0.18286 | NaN | 0.18717 | 0.21134 | 0.14685 | 0.18986 | 0.15143 | NaN |  |  | Shed | 11.17% | 29.44% | NaN | 36.74% | 13.17% | 13.79% | 27.57% | 22.02% | NaN |  |  | Shed | 11.17% | -8.711% | NaN | -11.28% | -25.64% | 12.69% | -12.88% | 9.973% | NaN
|  | Shift | 0.14613 | 0.19097 | NaN | 0.11447 | NaN | 0.14367 | 0.18736 | 0.15341 | 0.12133 |  |  | Shift | 13.13% | 26.31% | NaN | 61.31% | NaN | 15.66% | 28.52% | 21% | NaN |  |  | Shift | 13.13% | -13.53% | NaN | 31.95% | NaN | 14.59% | -11.39% | 8.795% | 27.87%
| New York | Baseline | 0.29974 | 0.53319 | 0.48993 | 0.1209 | NaN | 0.23206 | 0.5438 | 0.29833 | NaN |  | New York | Eff | Baseline | Baseline | Baseline | NaN | Baseline | Baseline | Baseline | Baseline | Baseline |  | New York | Eff | Baseline | -77.89% | -63.45% | 59.66% | NaN | 22.58% | -81.42% | 0.4692% | NaN
|  | Shed | 0.19405 | 0.26394 | 0.25832 | 0.11284 | 0.2458 | 0.18291 | 0.27823 | 0.17829 | NaN |  |  | Shed | 35.26% | 50.5% | 47.27% | 6.669% | NaN | 21.18% | 48.84% | 40.24% | NaN |  |  | Shed | 35.26% | 11.94% | 13.82% | 62.35% | 17.99% | 38.98% | 7.175% | 40.52% | NaN
|  | Shift | 0.2294 | 0.2901 | 0.39916 | 0.11295 | NaN | 0.15669 | 0.30002 | 0.22563 | 0.1613 |  |  | Shift | 23.47% | 45.59% | 18.53% | 6.579% | NaN | 32.48% | 44.83% | 24.37% | NaN |  |  | Shift | 23.47% | 3.217% | -33.17% | 62.32% | NaN | 47.72% | -0.09314% | 24.72% | 46.19%
| Tucson | Baseline | 1.497 | 1.6573 | 0.90346 | 0.13755 | 1.0832 | 1.0729 | 1.844 | 1.559 | NaN |  | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline |  | Tucson | Eff | Baseline | -10.71% | 39.65% | 90.81% | 27.64% | 28.33% | -23.18% | -4.139% | NaN
|  | Shed | 0.87454 | 0.99341 | 0.40084 | 0.11652 | 0.60363 | 0.58019 | 1.6101 | 0.73081 | NaN |  |  | Shed | 41.58% | 40.06% | 55.63% | 15.28% | 44.27% | 45.92% | 12.68% | 53.12% | NaN |  |  | Shed | 41.58% | 33.64% | 73.22% | 92.22% | 59.68% | 61.24% | -7.556% | 51.18% | NaN
|  | Shift | 0.72669 | 0.76396 | 0.35713 | 0.12869 | NaN | 0.51439 | 1.4073 | 0.69098 | 0.76878 | 0 kW |  | Shift | 51.46% | 53.9% | 60.47% | 6.442% | NaN | 52.05% | 23.68% | 55.68% | NaN |  |  | Shift | 51.46% | 48.97% | 76.14% | 91.4% | NaN | 65.64% | 5.991% | 53.84% | 48.64%
| (a) Average demand during peak period (HVAC) | [11 empty] | (a) Eff of Each Variation as Baseline | [11 empty] | (b) Eff with Default Settings as Baseline
| Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation | [7 empty] | Location | GEB | Default | Variation
|  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
| Atlanta | Baseline | 2.2089 | 2.5993 | 1.5337 | NaN | 2.1828 | 1.9118 | 3.7682 | 2.2714 | 1.5337 | 3.8 kW | Atlanta | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Atlanta | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
|  | Shed | 1.8388 | 2.0202 | NaN | NaN | 1.9305 | 1.4664 | 3.4191 | 1.8691 | 1.1827 |  |  | Shed | 16.76% | 22.28% | NaN | NaN | 11.56% | 23.29% | 9.265% | 17.71% | 22.88% |  | Shed | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
|  | Shift | 1.7826 | 1.9873 | NaN | NaN | 1.9268 | 1.4354 | 3.2837 | 1.8101 | 1.2218 |  |  | Shift | 19.3% | 23.54% | NaN | NaN | 11.73% | 24.92% | 12.86% | 20.31% | 20.33% |  | Shift | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
| Buffalo | Baseline | 1.9689 | 2.4502 | 1.6881 | NaN | 2.0504 | 1.9264 | 3.5629 | 2.0642 | 1.6881 |  | Buffalo | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Buffalo | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
|  | Shed | 1.7611 | 2.0588 | NaN | NaN | 1.9853 | 1.6287 | 3.2199 | 1.8048 | NaN |  |  | Shed | 10.55% | 15.97% | NaN | NaN | 3.176% | 15.45% | 9.626% | 12.57% | NaN |  | Shed | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
|  | Shift | 1.7317 | 1.9764 | NaN | NaN | 3.0691 | 1.6955 | 3.2098 | 1.8036 | 1.5883 |  |  | Shift | 12.04% | 19.33% | NaN | NaN | -49.68% | 11.98% | 9.91% | 12.62% | 5.915% |  | Shift | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
| New York | Baseline | 1.9102 | 2.4555 | 1.6163 | NaN | 2.0144 | 1.8087 | 3.227 | 1.7698 | 2.132 |  | New York | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | New York | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
|  | Shed | 1.5423 | 1.9194 | 1.4104 | NaN | 1.6022 | 1.3855 | 2.8241 | 1.3782 | 1.1273 |  |  | Shed | 19.26% | 21.83% | 12.74% | NaN | 20.46% | 23.4% | 12.49% | 22.13% | 47.12% |  | Shed | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
|  | Shift | 1.476 | 1.8845 | 1.3867 | NaN | 2.4346 | 1.3932 | 2.773 | 1.308 | 1.9457 |  |  | Shift | 22.73% | 23.26% | 14.21% | NaN | -20.86% | 22.97% | 14.07% | 26.1% | 8.735% |  | Shift | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
| Tucson | Baseline | 2.3561 | 2.7192 | 1.4444 | 1.058 | 2.4147 | 2.1702 | 3.5213 | 2.0136 | 2.3714 |  | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
|  | Shed | 1.9833 | 1.9758 | 1.2664 | 1.0217 | 2.1533 | 1.7237 | 3.1351 | 1.6936 | 1.8381 |  |  | Shed | 15.82% | 27.34% | 12.33% | 3.428% | 10.82% | 20.58% | 10.97% | 15.89% | 22.49% |  | Shed | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
|  | Shift | 1.9909 | 1.942 | 1.2006 | 0.87314 | 2.0043 | 1.7712 | 3.1126 | 1.6795 | 1.5725 | 0 kW |  | Shift | 15.5% | 28.58% | 16.88% | 17.47% | 17% | 18.39% | 11.6% | 16.59% | 33.69% |  | Shift | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN
| (b) Average demand during peak period (all) | [11 empty] | (b) Average demand during peak period (all) | [10 empty] | (b) Average demand during peak period (all)
Take
| Location | GEB Scenario | Default | Variation | [8 empty] | Location | GEB | Default | Variation | [7 empty] | Location | GEB Scenario | Default | Variation
|  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
| Atlanta | Efficiency | 1.4637 | 1.6111 | 0.63803 | No test | 0.96062 | 0.9489 | 1.0016 | 1.7355 | No test | 5.1 kW | Atlanta | Baseline | Eff Default | Eff ExtrmSum |  |  | Eff MPC | Eff HPB | Eff DenOcc | Eff NRGSave | Eff TES | Atlanta | Efficiency | 1.4637 | 1.6111 | 0.63803 | No test | 0.96062 | 0.9489 | 1.0016 | 1.7355 | No test
|  | Load Shed | 1.4266 | 1.4573 | No test | No test | 0.93077 | 1.0347 | 1.0881 | 1.3468 | No test |  |  | Shed | 2.536% | 9.541% |  |  | 3.107% | -9.043% | -8.633% | 22.4% |  |  | Load Shed | 1.4266 | 1.4573 | No test | No test | 0.93077 | 1.0347 | 1.0881 | 1.3468 | No test
|  | Load Shift | 2.4264 | 2.6935 | No test | No test | 1.2141 | 2.1896 | 2.4732 | 2.4597 | 1.012 |  |  | Shift | -65.78% | -67.19% |  |  | -26.38% | -130.8% | -146.9% | -41.73% |  |  | Load Shift | 2.4264 | 2.6935 | No test | No test | 1.2141 | 2.1896 | 2.4732 | 2.4597 | 1.012
| Buffalo | Efficiency | 0.57731 | 0.88045 | 0.060542 | No test | 0.018429 | 0.52351 | 0.75757 | 0.62949 | No test |  | Buffalo | Baseline | Eff Default | Eff ExtrmSum |  |  | Eff MPC | Eff HPB | Eff DenOcc | Eff NRGSave | Eff Default | Buffalo | Efficiency | 0.57731 | 0.88045 | 0.060542 | No test | 0.018429 | 0.52351 | 0.75757 | 0.62949 | No test
|  | Load Shed | 0.59815 | 0.83957 | No test | No test | Pending | 0.50471 | 0.78358 | 0.68967 | No test |  |  | Shed | -3.61% | 4.643% |  |  |  | 3.591% | -3.433% | -9.56% |  |  | Load Shed | 0.59815 | 0.83957 | No test | No test | Pending | 0.50471 | 0.78358 | 0.68967 | No test
|  | Load Shift | 0.93059 | 2.2901 | No test | No test | 0.01849 | 0.91615 | 1.0501 | 0.92971 | 0.5583 |  |  | Shift | -61.19% | -160.1% |  |  | -0.3302% | -75% | -38.62% | -47.69% | 3.292% |  | Load Shift | 0.93059 | 2.2901 | No test | No test | 0.01849 | 0.91615 | 1.0501 | 0.92971 | 0.5583
| New York | Efficiency | 0.68019 | 1.2389 | 0.57517 | No test | Pending | 0.62805 | 0.84405 | 0.70353 | No test |  | New York | Baseline | Eff Default | Eff ExtrmSum | Eff TypShldr |  | Eff MPC | Eff HPB | Eff DenOcc | Eff NRGSave | Eff Default | New York | Efficiency | 0.68019 | 1.2389 | 0.57517 | No test | Pending | 0.62805 | 0.84405 | 0.70353 | No test
|  | Load Shed | 0.68604 | 1.2012 | 0.59415 | No test | Pending | 0.58274 | 0.85363 | 0.70605 | No test |  |  | Shed | -0.8613% | 3.044% | -3.301% |  |  | 7.216% | -1.134% | -0.3585% |  |  | Load Shed | 0.68604 | 1.2012 | 0.59415 | No test | Pending | 0.58274 | 0.85363 | 0.70605 | No test
|  | Load Shift | 0.82636 | 1.3916 | 0.72242 | No test | 0.7249 | 0.73629 | 1.0195 | 0.85967 | 0.4941 |  |  | Shift | -21.49% | -12.32% | -25.6% |  |  | -17.23% | -20.79% | -22.19% | 27.36% |  | Load Shift | 0.82636 | 1.3916 | 0.72242 | No test | 0.7249 | 0.73629 | 1.0195 | 0.85967 | 0.4941
| Tucson | Efficiency | 2.2032 | 2.2901 | 1.1498 | Pending | Pending | 1.8315 | 2.6395 | 2.1079 | No test |  | Tucson | Baseline | Eff Default | Eff ExtrmSum | Eff TypShldr | Eff ExtrmWin | Eff MPC | Eff HPB | Eff DenOcc | Eff NRGSave | Eff Default | Tucson | Efficiency | 2.2032 | 2.2901 | 1.1498 | Pending | Pending | 1.8315 | 2.6395 | 2.1079 | No test
|  | Load Shed | 2.199 | 1.9977 | 1.2235 | Pending | Pending | 2.0707 | 2.5946 | 2.2507 | No test |  |  | Shed | 0.1913% | 12.77% | -6.415% |  |  | -13.06% | 1.7% | -6.776% |  |  | Load Shed | 2.199 | 1.9977 | 1.2235 | Pending | Pending | 2.0707 | 2.5946 | 2.2507 | No test
|  | Load Shift | 2.6017 | 2.4079 | 1.5322 | Pending | Pending | 2.0945 | 2.481 | 2.5539 | 1.9176 |  |  | Shift | -18.09% | -5.147% | -33.26% |  |  | -14.36% | 6.005% | -21.16% | 12.96% |  | Load Shift | 2.6017 | 2.4079 | 1.5322 | Pending | Pending | 2.0945 | 2.481 | 2.5539 | 1.9176
| (a) Average demand during take period (HVAC system only) | [11 empty] | (a) Average demand during take period (HVAC system only) | [10 empty] | (a) Average demand during take period (HVAC system only)
| Location | GEB Scenario | Default | Variation | [8 empty] | Location | GEB Scenario | Default | Variation | [7 empty] | Location | GEB Scenario | Default | Variation
|  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
| Atlanta | Efficiency | 2.6787 | 2.8261 | 3.053 | No test | 2.1926 | 2.1639 | 3.4316 | 2.9595 | No test |  | Atlanta | Efficiency | 2.6787 | 2.8261 | 3.053 | No test | 2.1926 | 2.1639 | 3.4316 | 2.9595 | No test | Atlanta | Efficiency | 2.6787 | 2.8261 | 3.053 | No test | 2.1926 | 2.1639 | 3.4316 | 2.9595 | No test
|  | Load Shed | 2.6416 | 2.6723 | No test | No test | 2.1493 | 2.2497 | 3.5181 | 2.5708 | No test |  |  | Load Shed | 2.6416 | 2.6723 | No test | No test | 2.1493 | 2.2497 | 3.5181 | 2.5708 | No test |  | Load Shed | 2.6416 | 2.6723 | No test | No test | 2.1493 | 2.2497 | 3.5181 | 2.5708 | No test
|  | Load Shift | 3.6414 | 3.9085 | No test | No test | 2.4291 | 3.4046 | 4.9032 | 3.6872 | 2.227 |  |  | Load Shift | 3.6414 | 3.9085 | No test | No test | 2.4291 | 3.4046 | 4.9032 | 3.6872 | 2.227 |  | Load Shift | 3.6414 | 3.9085 | No test | No test | 2.4291 | 3.4046 | 4.9032 | 3.6872 | 2.227
| Buffalo | Efficiency | 1.8088 | 2.1174 | 2.4905 | No test | 1.7354 | 1.755 | 3.2041 | 2.3455 | No test |  | Buffalo | Efficiency | 1.8088 | 2.1174 | 2.4905 | No test | 1.7354 | 1.755 | 3.2041 | 2.3455 | No test | Buffalo | Efficiency | 1.8088 | 2.1174 | 2.4905 | No test | 1.7354 | 1.755 | 3.2041 | 2.3455 | No test
|  | Load Shed | 1.8226 | 2.0766 | No test | No test | Pending | 1.7292 | 3.2231 | 2.4057 | No test |  |  | Load Shed | 1.8226 | 2.0766 | No test | No test | Pending | 1.7292 | 3.2231 | 2.4057 | No test |  | Load Shed | 1.8226 | 2.0766 | No test | No test | Pending | 1.7292 | 3.2231 | 2.4057 | No test
|  | Load Shift | 2.1621 | 3.5271 | No test | No test | 1.2525 | 2.1501 | 3.4896 | 2.6457 | 2.2778 |  |  | Load Shift | 2.1621 | 3.5271 | No test | No test | 1.2525 | 2.1501 | 3.4896 | 2.6457 | 2.2778 |  | Load Shift | 2.1621 | 3.5271 | No test | No test | 1.2525 | 2.1501 | 3.4896 | 2.6457 | 2.2778
| New York | Efficiency | 1.9063 | 2.4774 | 1.8055 | No test | Pending | 1.8542 | 2.9037 | 2.1243 | No test |  | New York | Efficiency | 1.9063 | 2.4774 | 1.8055 | No test | Pending | 1.8542 | 2.9037 | 2.1243 | No test | New York | Efficiency | 1.9063 | 2.4774 | 1.8055 | No test | Pending | 1.8542 | 2.9037 | 2.1243 | No test
|  | Load Shed | 1.9111 | 2.433 | 1.8212 | No test | Pending | 1.8106 | 3.1652 | 2.1268 | No test |  |  | Load Shed | 1.9111 | 2.433 | 1.8212 | No test | Pending | 1.8106 | 3.1652 | 2.1268 | No test |  | Load Shed | 1.9111 | 2.433 | 1.8212 | No test | Pending | 1.8106 | 3.1652 | 2.1268 | No test
|  | Load Shift | 2.0503 | 2.6232 | 1.9539 | No test | 1.9525 | 1.9582 | 3.3282 | 2.3709 | 2.5953 |  |  | Load Shift | 2.0503 | 2.6232 | 1.9539 | No test | 1.9525 | 1.9582 | 3.3282 | 2.3709 | 2.5953 |  | Load Shift | 2.0503 | 2.6232 | 1.9539 | No test | 1.9525 | 1.9582 | 3.3282 | 2.3709 | 2.5953
| Tucson | Efficiency | 3.4437 | 3.5189 | 2.4153 | Pending | Pending | 3.0707 | 5.086 | 3.3292 | No test |  | Tucson | Efficiency | 3.4437 | 3.5189 | 2.4153 | Pending | Pending | 3.0707 | 5.086 | 3.3292 | No test | Tucson | Efficiency | 3.4437 | 3.5189 | 2.4153 | Pending | Pending | 3.0707 | 5.086 | 3.3292 | No test
|  | Load Shed | 3.4387 | 3.2265 | 2.4835 | Pending | Pending | 3.3022 | 5.0411 | 3.4745 | No test |  |  | Load Shed | 3.4387 | 3.2265 | 2.4835 | Pending | Pending | 3.3022 | 5.0411 | 3.4745 | No test |  | Load Shed | 3.4387 | 3.2265 | 2.4835 | Pending | Pending | 3.3022 | 5.0411 | 3.4745 | No test
|  | Load Shift | 3.8332 | 3.6359 | 2.7922 | Pending | Pending | 3.3263 | 4.9275 | 3.7737 | 3.1491 | 0 kW |  | Load Shift | 3.8332 | 3.6359 | 2.7922 | Pending | Pending | 3.3263 | 4.9275 | 3.7737 | 3.1491 |  | Load Shift | 3.8332 | 3.6359 | 2.7922 | Pending | Pending | 3.3263 | 4.9275 | 3.7737 | 3.1491
| (b) Average demand during take period (HVAC system and personal equipment) | [11 empty] | (b) Average demand during take period (HVAC system and personal equipment) | [10 empty] | (b) Average demand during take period (HVAC system and personal equipment)
Rebound
| Location | GEB Scenario | Default | Variation | [8 empty] | Location | GEB Scenario | Default | Variation | [7 empty] | Location | GEB Scenario | Default | Variation
|  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
| Atlanta | Efficiency | 0.87898 | 1.2038 | 0.26214 | Pending | Pending | 0.70225 | 1.0319 | 0.73308 | No test | 5.1 kW | Atlanta | Efficiency | 0.87898 | 1.2038 | 0.26214 | Pending | Pending | 0.70225 | 1.0319 | 0.73308 | No test | Atlanta | Efficiency | 0.87898 | 1.2038 | 0.26214 | Pending | Pending | 0.70225 | 1.0319 | 0.73308 | No test
|  | Load Shed | 1.2631 | 1.4763 | No test | Pending | Pending | 1.1336 | 1.6072 | 1.2267 | No test |  |  | Load Shed | 1.2631 | 1.4763 | No test | Pending | Pending | 1.1336 | 1.6072 | 1.2267 | No test |  | Load Shed | 1.2631 | 1.4763 | No test | Pending | Pending | 1.1336 | 1.6072 | 1.2267 | No test
|  | Load Shift | 1.1571 | 1.4699 | No test | Pending | Pending | Pending | 1.4321 | 1.0945 | Pending |  |  | Load Shift | 1.1571 | 1.4699 | No test | Pending | Pending | Pending | 1.4321 | 1.0945 | Pending |  | Load Shift | 1.1571 | 1.4699 | No test | Pending | Pending | Pending | 1.4321 | 1.0945 | Pending
| Buffalo | Efficiency | 0.60799 | 0.92332 | 0.060614 | Pending | Pending | 0.5066 | 0.91284 | 0.6044 | No test |  | Buffalo | Efficiency | 0.60799 | 0.92332 | 0.060614 | Pending | Pending | 0.5066 | 0.91284 | 0.6044 | No test | Buffalo | Efficiency | 0.60799 | 0.92332 | 0.060614 | Pending | Pending | 0.5066 | 0.91284 | 0.6044 | No test
|  | Load Shed | 0.90182 | 1.3786 | No test | Pending | Pending | 0.83687 | 1.19 | 1.0039 | No test |  |  | Load Shed | 0.90182 | 1.3786 | No test | Pending | Pending | 0.83687 | 1.19 | 1.0039 | No test |  | Load Shed | 0.90182 | 1.3786 | No test | Pending | Pending | 0.83687 | 1.19 | 1.0039 | No test
|  | Load Shift | 0.83597 | 1.2883 | No test | Pending | Pending | 0.88967 | 1.1844 | 0.98459 | Pending |  |  | Load Shift | 0.83597 | 1.2883 | No test | Pending | Pending | 0.88967 | 1.1844 | 0.98459 | Pending |  | Load Shift | 0.83597 | 1.2883 | No test | Pending | Pending | 0.88967 | 1.1844 | 0.98459 | Pending
| New York | Efficiency | 0.48779 | 0.69492 | 0.383 | Pending | Pending | 0.25193 | 0.54705 | 0.36208 | No test |  | New York | Efficiency | 0.48779 | 0.69492 | 0.383 | Pending | Pending | 0.25193 | 0.54705 | 0.36208 | No test | New York | Efficiency | 0.48779 | 0.69492 | 0.383 | Pending | Pending | 0.25193 | 0.54705 | 0.36208 | No test
|  | Load Shed | 0.78177 | 1.1933 | 0.71767 | Pending | Pending | 0.79539 | 0.9003 | 0.68692 | No test |  |  | Load Shed | 0.78177 | 1.1933 | 0.71767 | Pending | Pending | 0.79539 | 0.9003 | 0.68692 | No test |  | Load Shed | 0.78177 | 1.1933 | 0.71767 | Pending | Pending | 0.79539 | 0.9003 | 0.68692 | No test
|  | Load Shift | 0.82209 | 1.1224 | 0.65486 | Pending | Pending | 0.77599 | 0.91428 | 0.81135 | Pending |  |  | Load Shift | 0.82209 | 1.1224 | 0.65486 | Pending | Pending | 0.77599 | 0.91428 | 0.81135 | Pending |  | Load Shift | 0.82209 | 1.1224 | 0.65486 | Pending | Pending | 0.77599 | 0.91428 | 0.81135 | Pending
| Tucson | Efficiency | 0.64655 | 0.92347 | 1.1692 | Pending | Pending | 0.52039 | 0.69244 | 0.56627 | No test |  | Tucson | Efficiency | 0.64655 | 0.92347 | 1.1692 | Pending | Pending | 0.52039 | 0.69244 | 0.56627 | No test | Tucson | Efficiency | 0.64655 | 0.92347 | 1.1692 | Pending | Pending | 0.52039 | 0.69244 | 0.56627 | No test
|  | Load Shed | 1.0666 | 1.4827 | 1.6687 | Pending | Pending | 0.94852 | 1.1198 | 0.97806 | No test |  |  | Load Shed | 1.0666 | 1.4827 | 1.6687 | Pending | Pending | 0.94852 | 1.1198 | 0.97806 | No test |  | Load Shed | 1.0666 | 1.4827 | 1.6687 | Pending | Pending | 0.94852 | 1.1198 | 0.97806 | No test
|  | Load Shift | 0.93191 | 1.2923 | 1.6474 | Pending | Pending | 0.90523 | 1.1077 | 0.83415 | Pending |  |  | Load Shift | 0.93191 | 1.2923 | 1.6474 | Pending | Pending | 0.90523 | 1.1077 | 0.83415 | Pending |  | Load Shift | 0.93191 | 1.2923 | 1.6474 | Pending | Pending | 0.90523 | 1.1077 | 0.83415 | Pending
| (a) Average demand during rebound period (HVAC system only) | [11 empty] | (a) Average demand during rebound period (HVAC system only) | [10 empty] | (a) Average demand during rebound period (HVAC system only)
| Location | GEB Scenario | Default | Variation | [8 empty] | Location | GEB Scenario | Default | Variation | [7 empty] | Location | GEB Scenario | Default | Variation
|  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
| Atlanta | Efficiency | 2.059 | 2.4038 | 1.4621 | Pending | Pending | 1.9022 | 2.2319 | 0.73308 | No test |  | Atlanta | Efficiency | 2.059 | 2.4038 | 1.4621 | Pending | Pending | 1.9022 | 2.2319 | 0.73308 | No test | Atlanta | Efficiency | 2.059 | 2.4038 | 1.4621 | Pending | Pending | 1.9022 | 2.2319 | 0.73308 | No test
|  | Load Shed | 2.4431 | 1.8363 | No test | Pending | Pending | 2.3136 | 2.8072 | 1.2267 | No test |  |  | Load Shed | 2.4431 | 1.8363 | No test | Pending | Pending | 2.3136 | 2.8072 | 1.2267 | No test |  | Load Shed | 2.4431 | 1.8363 | No test | Pending | Pending | 2.3136 | 2.8072 | 1.2267 | No test
|  | Load Shift | 1.5171 | 1.8299 | No test | Pending | Pending | Pending | 2.6321 | 1.0945 | Pending |  |  | Load Shift | 1.5171 | 1.8299 | No test | Pending | Pending | Pending | 2.6321 | 1.0945 | Pending |  | Load Shift | 1.5171 | 1.8299 | No test | Pending | Pending | Pending | 2.6321 | 1.0945 | Pending
| Buffalo | Efficiency | 0.64549 | 0.96082 | 1.2606 | Pending | Pending | 0.5441 | 2.1616 | 0.6469 | No test |  | Buffalo | Efficiency | 0.64549 | 0.96082 | 1.2606 | Pending | Pending | 0.5441 | 2.1616 | 0.6469 | No test | Buffalo | Efficiency | 0.64549 | 0.96082 | 1.2606 | Pending | Pending | 0.5441 | 2.1616 | 0.6469 | No test
|  | Load Shed | 0.93932 | 1.4289 | No test | Pending | Pending | 0.87437 | 2.437 | 1.0741 | No test |  |  | Load Shed | 0.93932 | 1.4289 | No test | Pending | Pending | 0.87437 | 2.437 | 1.0741 | No test |  | Load Shed | 0.93932 | 1.4289 | No test | Pending | Pending | 0.87437 | 2.437 | 1.0741 | No test
|  | Load Shift | 0.87347 | 1.3385 | No test | Pending | Pending | 0.92717 | 2.4314 | 1.0548 | Pending |  |  | Load Shift | 0.87347 | 1.3385 | No test | Pending | Pending | 0.92717 | 2.4314 | 1.0548 | Pending |  | Load Shift | 0.87347 | 1.3385 | No test | Pending | Pending | 0.92717 | 2.4314 | 1.0548 | Pending
| New York | Efficiency | 1.6878 | 1.8949 | 1.583 | Pending | Pending | 1.4519 | 1.7471 | 0.36208 | No test |  | New York | Efficiency | 1.6878 | 1.8949 | 1.583 | Pending | Pending | 1.4519 | 1.7471 | 0.36208 | No test | New York | Efficiency | 1.6878 | 1.8949 | 1.583 | Pending | Pending | 1.4519 | 1.7471 | 0.36208 | No test
|  | Load Shed | 1.9818 | 2.3933 | 1.9177 | Pending | Pending | 1.9954 | 2.1003 | 0.68692 | No test |  |  | Load Shed | 1.9818 | 2.3933 | 1.9177 | Pending | Pending | 1.9954 | 2.1003 | 0.68692 | No test |  | Load Shed | 1.9818 | 2.3933 | 1.9177 | Pending | Pending | 1.9954 | 2.1003 | 0.68692 | No test
|  | Load Shift | 2.0221 | 2.3224 | 1.8549 | Pending | Pending | 1.976 | 2.1143 | 0.81135 | Pending |  |  | Load Shift | 2.0221 | 2.3224 | 1.8549 | Pending | Pending | 1.976 | 2.1143 | 0.81135 | Pending |  | Load Shift | 2.0221 | 2.3224 | 1.8549 | Pending | Pending | 1.976 | 2.1143 | 0.81135 | Pending
| Tucson | Efficiency | 1.8465 | 2.1235 | 2.4194 | Pending | Pending | 1.7204 | 1.8924 | 0.56627 | No test |  | Tucson | Efficiency | 1.8465 | 2.1235 | 2.4194 | Pending | Pending | 1.7204 | 1.8924 | 0.56627 | No test | Tucson | Efficiency | 1.8465 | 2.1235 | 2.4194 | Pending | Pending | 1.7204 | 1.8924 | 0.56627 | No test
|  | Load Shed | 2.2666 | 2.6827 | 2.9182 | Pending | Pending | 2.1485 | 2.3198 | 0.97806 | No test |  |  | Load Shed | 2.2666 | 2.6827 | 2.9182 | Pending | Pending | 2.1485 | 2.3198 | 0.97806 | No test |  | Load Shed | 2.2666 | 2.6827 | 2.9182 | Pending | Pending | 2.1485 | 2.3198 | 0.97806 | No test
|  | Load Shift | 2.1319 | 2.4923 | 2.8969 | Pending | Pending | 2.1052 | 2.3077 | 0.83415 | Pending | 0 kW |  | Load Shift | 2.1319 | 2.4923 | 2.8969 | Pending | Pending | 2.1052 | 2.3077 | 0.83415 | Pending |  | Load Shift | 2.1319 | 2.4923 | 2.8969 | Pending | Pending | 2.1052 | 2.3077 | 0.83415 | Pending
| (b) Average demand during rebound period (HVAC system and personal equipment) | [11 empty] | (b) Average demand during rebound period (HVAC system and personal equipment) | [10 empty] | (b) Average demand during rebound period (HVAC system and personal equipment)

## Cost
Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation | [7 empty] | Location | GEB | Default | Variation
|  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
Atlanta | Efficiency | 1.3031 | 1.2264 | 0.65602 | 1.2264 | 1.1176 | 0.65602 | 1.7719 | 1.3272 | NaN | $ 1.8 | Atlanta | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | Baseline | Atlanta | Eff | Baseline | 5.891% | 49.66% | 5.891% | 14.24% | 49.66% | -35.97% | -1.846% | NaN
| Load Shed | 0.6992 | 0.85247 | NaN | NaN | 0.95331 | 0.44462 | 1.1096 | 0.78913 | NaN |  |  | Shed | 46.35% | 30.49% | NaN | NaN | 14.7% | 32.22% | 37.38% | 40.54% | NaN |  | Shed | 46.35% | 34.58% | NaN | NaN | 26.85% | 65.88% | 14.85% | 39.44% | NaN
| Load Shift | 0.94899 | 0.97643 | NaN | NaN | 1.031 | 0.50273 | 1.3148 | 0.79097 | 0.62829 |  |  | Shift | 27.18% | 20.38% | NaN | NaN | 7.748% | 23.37% | 25.79% | 40.4% | NaN |  | Shift | 27.18% | 25.07% | NaN | NaN | 20.88% | 61.42% | -0.8958% | 39.3% | 51.79%
Buffalo | Efficiency | 0.17126 | 0.24122 | 0.17178 | 0.24516 | 0.24409 | 0.17178 | 0.24608 | 0.18822 | NaN |  | Buffalo | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | Baseline | Buffalo | Eff | Baseline | -40.84% | -0.3004% | -43.15% | -42.52% | -0.3004% | -43.68% | -9.898% | NaN
| Load Shed | 0.16098 | 0.19748 | NaN | 0.24359 | 0.23699 | 0.15437 | 0.20618 | 0.16483 | NaN |  |  | Shed | 6.003% | 18.13% | NaN | 0.6406% | 2.906% | 10.14% | 16.21% | 12.43% | NaN |  | Shed | 6.003% | -15.3% | NaN | -42.23% | -38.38% | 9.866% | -20.39% | 3.758% | NaN
| Load Shift | 0.16393 | 0.2029 | NaN | 0.070235 | 0.23024 | 0.15406 | 0.21001 | 0.16385 | 0.12815 |  |  | Shift | 4.283% | 15.89% | NaN | 71.35% | 5.673% | 10.32% | 14.66% | 12.94% | NaN |  | Shift | 4.283% | -18.47% | NaN | 58.99% | -34.44% | 10.05% | -22.63% | 4.327% | 25.17%
New York | Efficiency | 0.35537 | 0.61147 | 0.48018 | 0.63059 | NaN | 0.32228 | 0.6267 | 0.35358 | NaN |  | New York | Eff | Baseline | Baseline | Baseline | NaN | Baseline | Baseline | Baseline | Baseline | Baseline | New York | Eff | Baseline | -72.07% | -35.12% | -77.45% | NaN | 9.311% | -76.35% | 0.5039% | NaN
| Load Shed | 0.29839 | 0.37521 | 0.31964 | 0.61528 | 0.61528 | 0.29917 | 0.41404 | 0.24677 | NaN |  |  | Shed | 16.03% | 38.64% | 33.43% | 2.427% | NaN | 7.171% | 33.93% | 30.21% | NaN |  | Shed | 16.03% | -5.583% | 10.05% | -73.14% | -73.14% | 15.81% | -16.51% | 30.56% | NaN
| Load Shift | 0.82117 | 0.86961 | 0.98957 | 0.14026 | NaN | 0.3091 | 0.80024 | 0.77708 | 0.26191 |  |  | Shift | -131.1% | -42.22% | -106.1% | 77.76% | NaN | 4.09% | -27.69% | -119.8% | NaN |  | Shift | -131.1% | -144.7% | -178.5% | 60.53% | NaN | 13.02% | -125.2% | -118.7% | 26.3%
Tucson | Efficiency | 0.93925 | 0.94817 | 0.55241 | 0.076275 | 0.076275 | 0.6389 | 1.1526 | 0.94614 | NaN |  | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Tucson | Eff | Baseline | -0.9491% | 41.19% | 91.88% | 91.88% | 31.98% | -22.71% | -0.7332% | NaN
| Load Shed | 0.67912 | 0.67678 | 0.45554 | 0.070362 | 0.070362 | 0.41171 | 1.0245 | 0.54804 | NaN |  |  | Shed | 27.7% | 28.62% | 17.54% | 7.753% | 7.753% | 35.56% | 11.12% | 42.08% | NaN |  | Shed | 27.7% | 27.94% | 51.5% | 92.51% | 92.51% | 56.17% | -9.072% | 41.65% | NaN
| Load Shift | 0.58773 | 0.59246 | 0.41295 | 0.073473 | NaN | 0.38469 | 0.95712 | 0.51888 | 0.64555 | $ 0 |  | Shift | 37.43% | 37.52% | 25.25% | 3.675% | NaN | 39.79% | 16.96% | 45.16% | NaN |  | Shift | 37.43% | 36.92% | 56.03% | 92.18% | NaN | 59.04% | -1.903% | 44.76% | 31.27%
(a) TOU cost (consider only the HVAC system) | [11 empty] | (a) Eff of Each Variation as Baseline | [10 empty] | (b) Eff with Default Settings as Baseline
Location | GEB | Default | Variation | [8 empty] | Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Efficiency | 3.665 | 4.1736 | 2.7455 | NaN | 3.6892 | 3.2101 | 5.4763 | 3.4033 | 2.7455 | $ 5.5 | Atlanta | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 3.3434 | 3.6536 | NaN | NaN | 3.5335 | 2.8894 | 5.2906 | 3.1633 | 2.3941 |  |  | Load Shed | 8.776% | 12.46% | NaN | NaN | 4.221% | 9.99% | 3.39% | 7.05% | 12.8%
| Load Shift | 3.3022 | 3.6698 | NaN | NaN | 3.5151 | 2.8953 | 5.2336 | 3.0409 | 2.4795 |  |  | Load Shift | 9.9% | 12.07% | NaN | NaN | 4.719% | 9.808% | 4.431% | 10.65% | 9.688%
Buffalo | Efficiency | 1.8648 | 2.2767 | 1.6028 | NaN | 1.9457 | 1.8038 | 3.2011 | 1.825 | 1.6028 |  | Buffalo | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 1.7312 | 2.0344 | NaN | NaN | 1.9295 | 1.6317 | 2.9991 | 1.6865 | NaN |  |  | Load Shed | 7.166% | 10.64% | NaN | NaN | 0.8325% | 9.545% | 6.312% | 7.592% | NaN
| Load Shift | 1.7228 | 2.0089 | NaN | NaN | 2.8481 | 1.6883 | 2.9913 | 1.6872 | 1.6002 |  |  | Load Shift | 7.617% | 11.76% | NaN | NaN | -46.38% | 6.403% | 6.554% | 7.553% | 0.1612%
New York | Efficiency | 2.757 | 3.3671 | 1.9092 | NaN | 2.988 | 2.6086 | 4.2683 | 3.1057 | 3.1586 |  | New York | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 2.1998 | 2.7942 | 1.8381 | NaN | 2.4104 | 2.0416 | 3.9191 | 2.4221 | 1.8997 |  |  | Load Shed | 20.21% | 17.02% | 3.725% | NaN | 19.33% | 21.74% | 8.182% | 22.01% | 39.86%
| Load Shift | 2.2326 | 2.8935 | 1.854 | NaN | 4.504 | 2.0786 | 3.9616 | 2.4622 | 3.3983 |  |  | Load Shift | 19.02% | 14.07% | 2.891% | NaN | -50.73% | 20.32% | 7.185% | 20.72% | -7.59%
Tucson | Efficiency | 1.6928 | 1.9014 | 0.9444 | 0.7095 | 1.741 | 1.557 | 2.4077 | 1.4802 | 1.7036 |  | Tucson | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 1.5498 | 1.5578 | 0.93087 | 0.70028 | 1.6403 | 1.3886 | 2.2504 | 1.3617 | 1.4877 |  |  | Load Shed | 8.442% | 18.07% | 1.432% | 1.3% | 5.782% | 10.81% | 6.532% | 8.006% | 12.67%
| Load Shift | 1.5588 | 1.5459 | 0.90148 | 0.6246 | 1.5796 | 1.4058 | 2.2679 | 1.3484 | 1.3263 | $ 0 |  | Load Shift | 7.913% | 18.7% | 4.545% | 11.97% | 9.27% | 9.714% | 5.804% | 8.905% | 22.14%
(b) TOU cost (consider both HVAC system and personal equipment) | [11 empty] | (b) TOU cost (consider both HVAC system and personal equipment)

## Energy
Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation | [7 empty] | Location | GEB | Default | Variation
|  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
Atlanta | Efficiency | 10.2535 | 10.1455 | 2.6646 | 4.2613 | 9.7241 | 5.422 | 14.0429 | 10.3269 | NaN | 26 kWh | Atlanta | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | NaN | Atlanta | Eff | Baseline | 1.053% | 74.01% | 58.44% | 5.163% | 47.12% | -36.96% | -0.7155% | NaN
| Load Shed | 6.3726 | 8.0993 | NaN | NaN | 9.0558 | 4.304 | 9.738 | 7.0291 | NaN |  |  | Shed | 37.85% | 20.17% | NaN | NaN | 6.872% | 20.62% | 30.66% | 31.93% | NaN |  | Shed | 37.85% | 21.01% | NaN | NaN | 11.68% | 58.02% | 5.028% | 31.45% | NaN
| Load Shift | 8.1981 | 9.392 | NaN | NaN | 9.4449 | 4.846 | 11.897 | 7.4596 | 6.1562 |  |  | Shift | 20.05% | 7.427% | NaN | NaN | 2.871% | 10.62% | 15.28% | 27.77% | NaN |  | Shift | 20.05% | 8.402% | NaN | NaN | 7.886% | 52.74% | -16.03% | 27.25% | 39.96%
Buffalo | Efficiency | 2.5412 | 3.3115 | 1.9493 | 9.1313 | 3.6715 | 2.5309 | 3.4032 | 2.675 | NaN |  | Buffalo | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | NaN | Buffalo | Eff | Baseline | -30.31% | 23.29% | -259.3% | -44.48% | 0.406% | -33.92% | -5.264% | NaN
| Load Shed | 2.4966 | 3.0581 | NaN | 9.1578 | 3.9466 | 2.3584 | 3.1787 | 2.5593 | NaN |  |  | Shed | 1.757% | 7.654% | NaN | -0.2902% | -7.493% | 6.815% | 6.596% | 4.323% | NaN |  | Shed | 1.757% | -20.34% | NaN | -260.4% | -55.31% | 7.193% | -25.09% | -0.7129% | NaN
| Load Shift | 2.6124 | 3.1115 | NaN | 2.5336 | 3.6699 | 2.3953 | 3.3129 | 2.5258 | 1.9776 |  |  | Shift | -2.802% | 6.041% | NaN | 72.25% | 0.04403% | 5.358% | 2.653% | 5.578% | NaN |  | Shift | -2.802% | -22.44% | NaN | 0.2997% | -44.42% | 5.743% | -30.37% | 0.6073% | 22.18%
New York | Efficiency | 3.8727 | 6.4447 | 5.3509 | 6.4349 | NaN | 3.1566 | 6.1953 | 3.7441 | NaN |  | New York | Eff | Baseline | Baseline | Baseline | NaN | Baseline | Baseline | Baseline | Baseline | NaN | New York | Eff | Baseline | -66.41% | -38.17% | -66.16% | NaN | 18.49% | -59.97% | 3.321% | NaN
| Load Shed | 3.168 | 4.3326 | 3.6246 | 6.1182 | 3.9352 | 2.8517 | 4.0272 | 2.8829 | NaN |  |  | Shed | 18.2% | 32.77% | 32.26% | 4.922% | NaN | 9.657% | 35% | 23% | NaN |  | Shed | 18.2% | -11.87% | 6.406% | -57.98% | -1.613% | 26.36% | -3.988% | 25.56% | NaN
| Load Shift | 4.3521 | 5.5766 | 6.1663 | 1.9649 | NaN | 3.0642 | 5.2504 | 4.2081 | 3.0747 |  |  | Shift | -12.38% | 13.47% | -15.24% | 69.46% | NaN | 2.924% | 15.25% | -12.39% | NaN |  | Shift | -12.38% | -44% | -59.22% | 49.26% | NaN | 20.88% | -35.57% | -8.659% | 20.61%
Tucson | Efficiency | 20.6553 | 19.2862 | 18.0354 | 2.4413 | 13.3381 | 13.4656 | 25.2716 | 20.2606 | NaN |  | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | NaN | Tucson | Eff | Baseline | 6.628% | 12.68% | 88.18% | 35.43% | 34.81% | -22.35% | 1.911% | NaN
| Load Shed | 17.161 | 15.7964 | 16.1905 | 2.2917 | 16.5401 | 9.8679 | 22.7722 | 13.5803 | NaN |  |  | Shed | 16.92% | 18.09% | 10.23% | 6.128% | -24.01% | 26.72% | 9.89% | 32.97% | NaN |  | Shed | 16.92% | 23.52% | 21.62% | 88.91% | 19.92% | 52.23% | -10.25% | 34.25% | NaN
| Load Shift | 15.1745 | 14.9603 | 14.7007 | 2.3662 | NaN | 9.5174 | 22.314 | 12.8677 | 16.9825 | 0 kWh |  | Shift | 26.53% | 22.43% | 18.49% | 3.078% | NaN | 29.32% | 11.7% | 36.49% | NaN |  | Shift | 26.53% | 27.57% | 28.83% | 88.54% | NaN | 53.92% | -8.03% | 37.7% | 17.78%
(a) Daily energy use (HVAC) | [11 empty] | (a) Eff of Each Variation as Baseline | [10 empty] | (b) Eff with Default Settings as Baseline
Location | GEB Scenario | Default | Variation | [8 empty] | Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES |  |  |  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Efficiency | 17.2385 | 17.2222 | 27.493 | NaN | 17.0862 | 17.1445 | 29.601 | 14.2413 | 17.0305 | 30 kWh | Atlanta | Efficiency | 17.2385 | 17.2222 | 27.493 | NaN | 17.0862 | 17.1445 | 29.601 | 14.2413 | 17.0305
| Load Shed | 16.91 | 16.27 | NaN | NaN | 16.788 | 16.7375 | 29.072 | 13.7455 | NaN |  |  | Load Shed | 16.91 | 16.27 | NaN | NaN | 16.788 | 16.7375 | 29.072 | 13.7455 | NaN
| Load Shift | 16.252 | 15.9428 | NaN | NaN | 16.776 | 16.7345 | 29.5295 | 13.0207 | 17.7435 |  |  | Load Shift | 16.252 | 15.9428 | NaN | NaN | 16.776 | 16.7345 | 29.5295 | 13.0207 | 17.7435
Buffalo | Efficiency | 17.3128 | 17.7425 | 25.4507 | NaN | 17.0278 | 17.5867 | 30.6258 | 14.8392 | NaN |  | Buffalo | Efficiency | 17.3128 | 17.7425 | 25.4507 | NaN | 17.0278 | 17.5867 | 30.6258 | 14.8392 | NaN
| Load Shed | 17.1043 | 17.1453 | NaN | NaN | 17.4518 | 17.0837 | 29.892 | 14.5938 | NaN |  |  | Load Shed | 17.1043 | 17.1453 | NaN | NaN | 17.4518 | 17.0837 | 29.892 | 14.5938 | NaN
| Load Shift | 17.119 | 17.1453 | NaN | NaN | 26.7518 | 17.4542 | 29.8792 | 14.5973 | 18.5805 |  |  | Load Shift | 17.119 | 17.1453 | NaN | NaN | 26.7518 | 17.4542 | 29.8792 | 14.5973 | 18.5805
New York | Efficiency | 17.7443 | 17.5527 | 15.7705 | NaN | 17.944 | 17.7473 | 29.5832 | 14.4695 | NaN |  | New York | Efficiency | 17.7443 | 17.5527 | 15.7705 | NaN | 17.944 | 17.7473 | 29.5832 | 14.4695 | NaN
| Load Shed | 16.7707 | 16.7625 | 15.7532 | NaN | 17.0502 | 16.7675 | 30.2965 | 13.6973 | 17.5733 |  |  | Load Shed | 16.7707 | 16.7625 | 15.7532 | NaN | 17.0502 | 16.7675 | 30.2965 | 13.6973 | 17.5733
| Load Shift | 16.7475 | 17.091 | 15.8235 | NaN | 27.3377 | 17.0778 | 30.282 | 14.1497 | 28.0487 |  |  | Load Shift | 16.7475 | 17.091 | 15.8235 | NaN | 27.3377 | 17.0778 | 30.282 | 14.1497 | 28.0487
Tucson | Efficiency | 17.6277 | 17.6137 | 15.2622 | 19.9973 | 17.671 | 18.1127 | 29.1388 | 13.9848 | 17.816 |  | Tucson | Efficiency | 17.6277 | 17.6137 | 15.2622 | 19.9973 | 17.671 | 18.1127 | 29.1388 | 13.9848 | 17.816
| Load Shed | 17.4525 | 16.267 | 15.2513 | 19.999 | 17.783 | 18.0108 | 29.1462 | 13.0405 | 17.7602 |  |  | Load Shed | 17.4525 | 16.267 | 15.2513 | 19.999 | 17.783 | 18.0108 | 29.1462 | 13.0405 | 17.7602
| Load Shift | 17.625 | 16.6935 | 15.2365 | 17.5572 | 17.975 | 18.3493 | 30.402 | 13.208 | 17.1955 | 0 kWh |  | Load Shift | 17.625 | 16.6935 | 15.2365 | 17.5572 | 17.975 | 18.3493 | 30.402 | 13.208 | 17.1955
(b) Daily energy use (personal equipment) | [11 empty] | (b) Daily energy use (personal equipment)

## FF
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Efficiency | -0.10978 | 0.021597 | 0.019206 | 0.021597 | 0.14739 | 0.019206 | -0.090373 | -0.13993 | NaN | +1
| Load Shed | 0.25751 | 0.35195 | NaN | NaN | 0.35159 | 0.39318 | 0.16825 | 0.20369 | NaN
| Load Shift | 0.12986 | 0.37922 | NaN | NaN | 0.26939 | 0.3839 | 0.24064 | 0.33545 | 0.41949
Buffalo | Efficiency | 0.2057 | 0.060939 | 0.19232 | 0.80557 | 0.20455 | 0.19232 | 0.075733 | 0.12881 | NaN
| Load Shed | 0.28184 | 0.28246 | NaN | 0.87737 | 0.35742 | 0.25278 | 0.28324 | 0.28998 | NaN
| Load Shift | 0.32877 | 0.2635 | NaN | 0.72891 | 0.32467 | 0.28023 | 0.32132 | 0.27114 | 0.26377
New York | Efficiency | -0.23835 | -0.32374 | -0.46495 | 0.69938 | NaN | -0.17627 | -0.40442 | -0.27488 | NaN
| Load Shed | 0.019981 | 0.025266 | -0.14028 | 0.70491 | 0.0006014 | -0.026259 | -0.10542 | 0.01051 | NaN
| Load Shift | 0.15663 | 0.16768 | -0.035732 | 0.080299 | NaN | 0.18183 | 0.085733 | 0.14211 | 0.16064
Tucson | Efficiency | 0.1303 | -0.031198 | 0.1985 | 0.098534 | 0.025457 | 0.043922 | 0.12441 | 0.07666 | NaN
| Load Shed | 0.38847 | 0.24534 | 0.60388 | 0.18646 | 0.56206 | 0.29445 | 0.15154 | 0.35423 | NaN
| Load Shift | 0.42533 | 0.38721 | 0.61131 | 0.12982 | NaN | 0.35143 | 0.24318 | 0.35561 | 0.45677 | -1
(a) Flexibility factor (consider only the HVAC system)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Efficiency | 0.3711 | 0.34139 | 0.43362 | NaN | 0.38707 | 0.3815 | 0.239 | 0.27242 | 0.43362 | +1
| Load Shed | 0.44547 | 0.44143 | NaN | NaN | 0.45038 | 0.5018 | 0.30564 | 0.38825 | 0.5191
| Load Shift | 0.45923 | 0.45692 | NaN | NaN | 0.44794 | 0.51687 | 0.33443 | 0.38191 | 0.52067
Buffalo | Efficiency | 0.10588 | 0.071378 | 0.112 | NaN | 0.10856 | 0.085654 | -0.015305 | -0.046796 | 0.112
| Load Shed | 0.16402 | 0.17414 | NaN | NaN | 0.14901 | 0.19572 | 0.054657 | 0.05937 | NaN
| Load Shift | 0.18412 | 0.2136 | NaN | NaN | 0.060241 | 0.18702 | 0.05616 | 0.060315 | 0.20067
New York | Efficiency | -0.031439 | -0.048541 | 0.015594 | NaN | -0.038192 | -0.022352 | -0.1525 | -0.062243 | -0.052005
| Load Shed | 0.099491 | 0.08655 | 0.10313 | NaN | 0.10524 | 0.12685 | -0.034418 | 0.070703 | 0.17685
| Load Shift | 0.13909 | 0.10701 | 0.12582 | NaN | 0.031305 | 0.14469 | -0.011866 | 0.14668 | 0.054973
Tucson | Efficiency | 0.30852 | 0.27724 | 0.25968 | 0.2814 | 0.31244 | 0.30694 | 0.24991 | 0.33349 | 0.30837
| Load Shed | 0.3944 | 0.40263 | 0.35415 | 0.29949 | 0.36994 | 0.42194 | 0.30748 | 0.42018 | 0.42596
| Load Shift | 0.3962 | 0.41131 | 0.36978 | 0.3335 | 0.40224 | 0.40864 | 0.32397 | 0.41889 | 0.46035 | -1
(b) Flexibility factor (consider both HVAC system and personal equipment)

## Daily Per Occ Discomfort
Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation
|  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
Atlanta | Efficiency | 8.1429 | 8 | 11.7143 | 23.1429 | 9.5714 | 8.8571 | 8.2727 | 10.4286 | NaN | 24 min | Atlanta | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 7.5714 | 7.4286 | NaN | NaN | 8 | 8.1429 | 8 | 9.4286 | NaN |  |  | Load Shed | 7.018% | 7.143% | NaN | NaN | 16.42% | 8.065% | 3.297% | 9.589% | NaN
| Load Shift | 8.2857 | 7.2857 | NaN | NaN | 8.7143 | 7.8571 | 7.5455 | 9.5714 | 7.5714 |  |  | Load Shift | -1.754% | 8.929% | NaN | NaN | 8.955% | 11.29% | 8.791% | 8.219% | NaN
Buffalo | Efficiency | 9.8571 | 8.8571 | 9.1429 | 20 | 11 | 9.7143 | 9.6364 | 13 | NaN |  | Buffalo | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 8.4286 | 8 | NaN | 21.2857 | 9.5714 | 8.2857 | 8 | 10.2857 | NaN |  |  | Load Shed | 14.49% | 9.677% | NaN | -6.429% | 12.99% | 14.71% | 16.98% | 20.88% | NaN
| Load Shift | 9 | 8.4286 | NaN | 15.1429 | 10.8571 | 8.7143 | 8.2727 | 11.4286 | 12.8571 |  |  | Load Shift | 8.696% | 4.839% | NaN | 24.29% | 1.299% | 10.29% | 14.15% | 12.09% | NaN
New York | Efficiency | 8.5714 | 8.1429 | 3.4286 | 15.8571 | NaN | 9 | 8.2727 | 11.5714 | NaN |  | New York | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 7.8571 | 7.4286 | 3.2857 | 15.5714 | 9.2857 | 7.7143 | 7.3636 | 9.4286 | NaN |  |  | Load Shed | 8.333% | 8.772% | 4.167% | 1.802% | NaN | 14.29% | 10.99% | 18.52% | NaN
| Load Shift | 8.1429 | 8 | 3.5714 | 8.7143 | NaN | 9.1429 | 8.3636 | 9.5714 | 8.7143 |  |  | Load Shift | 5% | 1.754% | -4.167% | 45.05% | NaN | -1.587% | -1.099% | 17.28% | NaN
Tucson | Efficiency | 7.8571 | 8.1429 | 3.4286 | 9 | 7.2857 | 7.8571 | 7.8182 | 11.5714 | NaN |  | Tucson | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 7.7143 | 7.5714 | 3.4286 | 9 | 8.2857 | 7.8571 | 8.2727 | 10.5714 | NaN |  |  | Load Shed | 1.818% | 7.018% | 0% | 0% | -13.73% | 0% | -5.814% | 8.642% | NaN
| Load Shift | 7.7143 | 8.1429 | 3.4286 | 9 | NaN | 7.8571 | 7.6364 | 10.4286 | 7.8571 | 0 min |  | Load Shift | 1.818% | 0% | 0% | 0% | NaN | 0% | 2.326% | 9.877% | NaN
Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation
|  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
Atlanta | Efficiency | 55.1429 | 51 | 45.4286 | 7.2857 | 48.4286 | 47.8571 | 45.3636 | 56.8571 | NaN | 65 min | Atlanta | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 55.2857 | 57.5714 | NaN | NaN | 54.2857 | 50.8571 | 44 | 61.4286 | NaN |  |  | Load Shed | -0.2591% | -12.89% | NaN | NaN | -12.09% | -6.269% | 3.006% | -8.04% | NaN
| Load Shift | 49.8571 | 56.8571 | NaN | NaN | 47.8571 | 55 | 49.0909 | 56.4286 | 51.2857 |  |  | Load Shift | 9.585% | -11.48% | NaN | NaN | 1.18% | -14.93% | -8.216% | 0.7538% | NaN
Buffalo | Efficiency | 44.2857 | 49.7143 | 32.7143 | 7.5714 | 42.2857 | 49.2857 | 35.7273 | 46.8571 | NaN |  | Buffalo | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 57 | 56 | NaN | 7.1429 | 47.5714 | 55 | 44.2727 | 55.2857 | NaN |  |  | Load Shed | -28.71% | -12.64% | NaN | 5.66% | -12.5% | -11.59% | -23.92% | -17.99% | NaN
| Load Shift | 53.7143 | 51 | NaN | 15.4286 | 41.5714 | 49.5714 | 42.6364 | 53 | 38.7143 |  |  | Load Shift | -21.29% | -2.586% | NaN | -103.8% | 1.689% | -0.5797% | -19.34% | -13.11% | NaN
New York | Efficiency | 49.4286 | 50.1429 | 60.2857 | 10.1429 | NaN | 48.1429 | 42.9091 | 51 | NaN |  | New York | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 55.7143 | 54.4286 | 63.2857 | 9.7143 | 50 | 56.7143 | 46.6364 | 58 | NaN |  |  | Load Shed | -12.72% | -8.547% | -4.976% | 4.225% | NaN | -17.8% | -8.686% | -13.73% | NaN
| Load Shift | 53 | 53.2857 | 58.8571 | 37 | NaN | 51 | 44.4545 | 58.7143 | 52 |  |  | Load Shift | -7.225% | -6.268% | 2.37% | -264.8% | NaN | -5.935% | -3.602% | -15.13% | NaN
Tucson | Efficiency | 61.1429 | 58.7143 | 56.1429 | 62.8571 | 68.2857 | 56.5714 | 53.9091 | 61.2857 | NaN |  | Tucson | Efficiency | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Load Shed | 61.1429 | 61.7143 | 57.4286 | 64.4286 | 53.8571 | 59 | 54 | 59.8571 | NaN |  |  | Load Shed | 0% | -5.109% | -2.29% | -2.5% | 21.13% | -4.293% | -0.1686% | 2.331% | NaN
| Load Shift | 56.7143 | 60.1429 | 56.7143 | 61.7143 | NaN | 54.1429 | 52.4545 | 59.5714 | 60.7143 | 0 min |  | Load Shift | 7.243% | -2.433% | -1.018% | 1.818% | NaN | 4.293% | 2.698% | 2.797% | NaN

## Daily Per Occ Equip Use
Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation | [7 empty] | Location | GEB | Default | Variation
|  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
Atlanta | Eff | 117.4286 | 116.2857 | 119.8571 | 229.1429 | 117.4286 | 123.2857 | 123.7273 | 90.7143 | NaN | 200 min | Atlanta | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | Baseline | Atlanta | Eff | Baseline | 0.9732% | -2.068% | -95.13% | 0% | -4.988% | -5.364% | 22.75% | NaN
| Shed | 111.5714 | 110.4286 | NaN | NaN | 117.4286 | 117.4286 | 129.8182 | 88.7143 | NaN |  |  | Shed | 4.988% | 5.037% | NaN | NaN | 0% | 4.751% | -4.923% | 2.205% | NaN |  | Shed | 4.988% | 5.961% | NaN | NaN | 0% | 0% | -10.55% | 24.45% | NaN
| Shift | 117.4286 | 110.4286 | NaN | NaN | 117.4286 | 111.5714 | 129.8182 | 88.7143 | 110.4286 |  |  | Shift | 0% | 5.037% | NaN | NaN | 0% | 9.502% | -4.923% | 2.205% | NaN |  | Shift | 0% | 5.961% | NaN | NaN | 0% | 4.988% | -10.55% | 24.45% | 5.961%
Buffalo | Eff | 120.1429 | 119 | 179.8571 | 204.5714 | 122.5714 | 122.5714 | 131.3636 | 90.7143 | NaN |  | Buffalo | Eff | Baseline | Baseline | NaN | NaN | Baseline | Baseline | Baseline | Baseline | Baseline | Buffalo | Eff | Baseline | 0.9512% | -49.7% | -70.27% | -2.021% | -2.021% | -9.34% | 24.49% | NaN
| Shed | 122.5714 | 122.2857 | NaN | 205.2857 | 120.1429 | 122.2857 | 129.8182 | 88.7143 | NaN |  |  | Shed | -2.021% | -2.761% | NaN | -0.3492% | 1.981% | 0.2331% | 1.176% | 2.205% | NaN |  | Shed | -2.021% | -1.784% | NaN | -70.87% | 0% | -1.784% | -8.053% | 26.16% | NaN
| Shift | 119.8571 | 120.1429 | NaN | 209 | 120.1429 | 119.8571 | 129.8182 | 88.7143 | 122.5714 |  |  | Shift | 0.2378% | -0.9604% | NaN | -2.165% | 1.981% | 2.214% | 1.176% | 2.205% | NaN |  | Shift | 0.2378% | 0% | NaN | -73.96% | 0% | 0.2378% | -8.053% | 26.16% | -2.021%
New York | Eff | 119.8571 | 116.2857 | 110 | 160.5714 | NaN | 120.8571 | 129.8182 | 90.7143 | NaN |  | New York | Eff | Baseline | Baseline | Baseline | NaN | Baseline | Baseline | Baseline | Baseline | Baseline | New York | Eff | Baseline | 2.98% | 8.224% | -33.97% | NaN | -0.8343% | -8.311% | 24.31% | NaN
| Shed | 111.5714 | 110.4286 | 110 | 160.5714 | 117.4286 | 119.8571 | 129.8182 | 88.7143 | NaN |  |  | Shed | 6.913% | 5.037% | 0% | 0% | NaN | 0.8274% | 0% | 2.205% | NaN |  | Shed | 6.913% | 7.867% | 8.224% | -33.97% | 2.026% | 0% | -8.311% | 25.98% | NaN
| Shift | 111.5714 | 110.4286 | 106.1429 | 121.8571 | NaN | 111.5714 | 129.8182 | 88.7143 | 111.5714 |  |  | Shift | 6.913% | 5.037% | 3.506% | 24.11% | NaN | 7.683% | 0% | 2.205% | NaN |  | Shift | 6.913% | 7.867% | 11.44% | -1.669% | NaN | 6.913% | -8.311% | 25.98% | 6.913%
Tucson | Eff | 119 | 119 | 106.1429 | 120 | 116.2857 | 122.4286 | 127.7273 | 69.2857 | NaN |  | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Tucson | Eff | Baseline | 0% | 10.8% | -0.8403% | 2.281% | -2.881% | -7.334% | 41.78% | NaN
| Shed | 116.2857 | 110.4286 | 106.1429 | 120 | 116.2857 | 118.7143 | 123.7273 | 60.5714 | NaN |  |  | Shed | 2.281% | 7.203% | 0% | 0% | 0% | 3.034% | 3.132% | 12.58% | NaN |  | Shed | 2.281% | 7.203% | 10.8% | -0.8403% | 2.281% | 0.2401% | -3.972% | 49.1% | NaN
| Shift | 116.2857 | 116.2857 | 106.1429 | 109 | NaN | 118.7143 | 129.8182 | 60.5714 | 110.4286 | 0 min |  | Shift | 2.281% | 2.281% | 0% | 9.167% | NaN | 3.034% | -1.637% | 12.58% | NaN |  | Shift | 2.281% | 2.281% | 10.8% | 8.403% | NaN | 0.2401% | -9.091% | 49.1% | 7.203%
[12 empty] | (a) Eff of Each Variation as Baseline | [10 empty] | (b) Eff with Default Settings as Baseline
Location | GEB | Default | Variation | [8 empty] | Location | GEB | Default | Variation
|  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES |  |  |  |  | ExtrmSum | TypShldr | ExtrmWin | MPC | HPB | DenOcc | NRGSave | TES
Atlanta | Eff | 227.5714 | 210.1429 | 185.2857 | 108.4286 | 182.4286 | 212 | 214.3636 | 191.2857 | NaN | 250 min | Atlanta | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Shed | 220.2857 | 215.5714 | NaN | NaN | 205.1429 | 223.8571 | 212.9091 | 207.2857 | NaN |  |  | Shed | 3.202% | -2.583% | NaN | NaN | -12.45% | -5.593% | 0.6785% | -8.364% | NaN
| Shift | 220.2857 | 223.1429 | NaN | NaN | 218.4286 | 225.7143 | 225.4545 | 205.8571 | 222 |  |  | Shift | 3.202% | -6.186% | NaN | NaN | -19.73% | -6.469% | -5.174% | -7.618% | NaN
Buffalo | Eff | 198.1429 | 208.5714 | 209 | 156.1429 | 175.5714 | 199.8571 | 188.4545 | 185.5714 | NaN |  | Buffalo | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Shed | 234.1429 | 248.1429 | NaN | 156.1429 | 195.1429 | 238.4286 | 227.3636 | 213 | NaN |  |  | Shed | -18.17% | -18.97% | NaN | 0% | -11.15% | -19.3% | -20.65% | -14.78% | NaN
| Shift | 218 | 228 | NaN | 153.7143 | 185.5714 | 186.5714 | 212.6364 | 214 | 163.8571 |  |  | Shift | -10.02% | -9.315% | NaN | 1.555% | -5.696% | 6.648% | -12.83% | -15.32% | NaN
New York | Eff | 210.1429 | 212.8571 | 244.4286 | 167 | NaN | 201.4286 | 207 | 191.2857 | NaN |  | New York | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Shed | 224 | 217.4286 | 254.7143 | 167 | 220.7143 | 230.5714 | 212.8182 | 215.2857 | NaN |  |  | Shed | -6.594% | -2.148% | -4.208% | 0% | NaN | -14.47% | -2.811% | -12.55% | NaN
| Shift | 215 | 229.4286 | 231.7143 | 168.2857 | NaN | 186.4286 | 210.0909 | 201.8571 | 213.5714 |  |  | Shift | -2.311% | -7.785% | 5.202% | -0.7699% | NaN | 7.447% | -1.493% | -5.527% | NaN
Tucson | Eff | 277.1429 | 272.7143 | 244.7143 | 189.1429 | 293.2857 | 247.4286 | 265.6364 | 219 | NaN |  | Tucson | Eff | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline | Baseline
| Shed | 277.1429 | 278.5714 | 250.5714 | 194.1429 | 260.8571 | 258.1429 | 263.1818 | 211.2857 | NaN |  |  | Shed | 0% | -2.148% | -2.393% | -2.644% | 11.06% | -4.33% | 0.924% | 3.523% | NaN
| Shift | 242.5714 | 259.5714 | 250.5714 | 188.2857 | NaN | 250.5714 | 263.1818 | 212.4286 | 274.1429 | 0 min |  | Shift | 12.47% | 4.819% | -2.393% | 0.4532% | NaN | -1.27% | 0.924% | 3.001% | NaN

## demand decrese - peak
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 0.66475 | 0.46777 | No test | Pending | Pending | 0.27061 | 0.72125 | 0.61746 | No test | 0.8 kW
| Load Shift | 0.42457 | 0.4096 | No test | Pending | Pending | Pending | 0.6278 | 0.68146 | No test
Buffalo | Load Shed | 0.018794 | 0.076286 | No test | Pending | Pending | 0.023492 | 0.072256 | 0.042769 | No test
| Load Shift | 0.022078 | 0.068175 | No test | Pending | Pending | 0.026675 | 0.074756 | 0.040789 | No test
New York | Load Shed | 0.10569 | 0.26925 | 0.23161 | Pending | Pending | 0.049148 | 0.26557 | 0.12005 | No test
| Load Shift | 0.070335 | 0.2431 | 0.090763 | Pending | Pending | 0.075369 | 0.24378 | 0.072704 | No test
Tucson | Load Shed | 0.62245 | 0.66392 | 0.50262 | Pending | Pending | 0.49266 | 0.23386 | 0.82814 | No test
| Load Shift | 0.7703 | 0.89337 | 0.54633 | Pending | Pending | 0.55846 | 0.43666 | 0.86798 | No test
(a) Demand decrease (HVAC system only)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 0.37014 | 0.57909 | No test | Pending | Pending | 0.44534 | 0.34912 | 0.4023 | No test
| Load Shift | 0.42636 | 0.612 | No test | Pending | Pending | Pending | 0.48457 | 0.46126 | No test
Buffalo | Load Shed | 0.20775 | 0.39132 | No test | Pending | Pending | 0.29762 | 0.34297 | 0.25943 | No test
| Load Shift | 0.23714 | 0.47373 | No test | Pending | Pending | 0.23083 | 0.35308 | 0.26059 | No test
New York | Load Shed | 0.3679 | 0.5361 | 0.20589 | Pending | Pending | 0.42319 | 0.40289 | 0.3916 | No test
| Load Shift | 0.4342 | 0.57103 | 0.22964 | Pending | Pending | 0.41548 | 0.454 | 0.46186 | No test
Tucson | Load Shed | 0.3728 | 0.74344 | 0.17803 | Pending | Pending | 0.44652 | 0.38614 | 0.31997 | No test
| Load Shift | 0.3652 | 0.77723 | 0.24381 | Pending | Pending | 0.39899 | 0.40864 | 0.33407 | No test | 0 kW
(b) Demand decrease (HVAC system and personal equipment)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 58.42% | 47.12% | No test | Pending | Pending | 50.89% | 47.1% | 52.45% | No test | 45%
| Load Shift | 37.31% | 41.26% | No test | Pending | Pending | Pending | 41% | 57.89% | No test
Buffalo | Load Shed | 11.17% | 29.44% | No test | Pending | Pending | 13.79% | 27.57% | 22.02% | No test
| Load Shift | 13.13% | 26.31% | No test | Pending | Pending | 15.66% | 28.52% | 21% | No test
New York | Load Shed | 35.26% | 50.5% | 47.27% | Pending | Pending | 21.18% | 48.84% | 40.24% | No test
| Load Shift | 23.47% | 45.59% | 18.53% | Pending | Pending | 32.48% | 44.83% | 24.37% | No test
Tucson | Load Shed | 41.58% | 40.06% | 55.63% | Pending | Pending | 45.92% | 12.68% | 53.12% | No test
| Load Shift | 51.46% | 53.9% | 60.47% | Pending | Pending | 52.05% | 23.68% | 55.68% | No test
(a) Demand decrease percentage (HVAC system only)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 16.76% | 22.28% | No test | Pending | Pending | 23.29% | 9.265% | 17.71% | No test
| Load Shift | 19.3% | 23.54% | No test | Pending | Pending | Pending | 12.86% | 20.31% | No test
Buffalo | Load Shed | 10.55% | 15.97% | No test | Pending | Pending | 15.45% | 9.626% | 12.57% | No test
| Load Shift | 12.04% | 19.33% | No test | Pending | Pending | 11.98% | 9.91% | 12.62% | No test
New York | Load Shed | 19.26% | 21.83% | 12.74% | Pending | Pending | 23.4% | 12.49% | 22.13% | No test
| Load Shift | 22.73% | 23.26% | 14.21% | Pending | Pending | 22.97% | 14.07% | 26.1% | No test
Tucson | Load Shed | 15.82% | 27.34% | 12.33% | Pending | Pending | 20.58% | 10.97% | 15.89% | No test
| Load Shift | 15.5% | 28.58% | 16.88% | Pending | Pending | 18.39% | 11.6% | 16.59% | No test | 0%
(b) Demand decrease percentage (HVAC system and personal equipment)

## tou cost decrease
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 0.60394 | 0.3739 | No test | Pending | Pending | 0.2114 | 0.6623 | 0.53807 | No test | $ 0.7
| Load Shift | 0.35415 | 0.24995 | No test | Pending | Pending | Pending | 0.45704 | 0.53623 | No test
Buffalo | Load Shed | 0.010281 | 0.043741 | No test | Pending | Pending | 0.017412 | 0.039893 | 0.023387 | No test
| Load Shift | 0.0073355 | 0.038318 | No test | Pending | Pending | 0.017723 | 0.036064 | 0.024362 | No test
New York | Load Shed | 0.056974 | 0.23626 | 0.16054 | Pending | Pending | 0.02311 | 0.21266 | 0.10681 | No test
| Load Shift | -0.4658 | -0.25814 | -0.50939 | Pending | Pending | 0.013183 | -0.17355 | -0.4235 | No test
Tucson | Load Shed | 0.26013 | 0.27139 | 0.096872 | Pending | Pending | 0.22719 | 0.12811 | 0.39809 | No test
| Load Shift | 0.35153 | 0.35571 | 0.13946 | Pending | Pending | 0.25421 | 0.19545 | 0.42726 | No test
(a) Demand decrease (HVAC system only)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 0.32164 | 0.52004 | No test | Pending | Pending | 0.3207 | 0.18567 | 0.23994 | No test
| Load Shift | 0.36284 | 0.50382 | No test | Pending | Pending | Pending | 0.24268 | 0.36236 | No test
Buffalo | Load Shed | 0.13363 | 0.24226 | No test | Pending | Pending | 0.17218 | 0.20205 | 0.13856 | No test
| Load Shift | 0.14204 | 0.26776 | No test | Pending | Pending | 0.11549 | 0.20981 | 0.13785 | No test
New York | Load Shed | 0.55729 | 0.57294 | 0.071119 | Pending | Pending | 0.56698 | 0.34922 | 0.68359 | No test
| Load Shift | 0.5245 | 0.47365 | 0.055203 | Pending | Pending | 0.53001 | 0.30667 | 0.64347 | No test
Tucson | Load Shed | 0.14291 | 0.34356 | 0.013523 | Pending | Pending | 0.16836 | 0.15727 | 0.11851 | No test
| Load Shift | 0.13395 | 0.35547 | 0.04292 | Pending | Pending | 0.15124 | 0.13975 | 0.13181 | No test | $ 0
(b) Demand decrease (HVAC system and personal equipment)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 46.35% | 30.49% | No test | Pending | Pending | 32.22% | 37.38% | 40.54% | No test | 26%
| Load Shift | 27.18% | 20.38% | No test | Pending | Pending | Pending | 25.79% | 40.4% | No test
Buffalo | Load Shed | 6.003% | 18.13% | No test | Pending | Pending | 10.14% | 16.21% | 12.43% | No test
| Load Shift | 4.283% | 15.89% | No test | Pending | Pending | 10.32% | 14.66% | 12.94% | No test
New York | Load Shed | 16.03% | 38.64% | 33.43% | Pending | Pending | 7.171% | 33.93% | 30.21% | No test
| Load Shift | -131.1% | -42.22% | -106.1% | Pending | Pending | 4.09% | -27.69% | -119.8% | No test
Tucson | Load Shed | 27.7% | 28.62% | 17.54% | Pending | Pending | 35.56% | 11.12% | 42.08% | No test
| Load Shift | 37.43% | 37.52% | 25.25% | Pending | Pending | 39.79% | 16.96% | 45.16% | No test
(a) Demand decrease percentage (HVAC system only)
Location | GEB Scenario | Default | Variation
|  |  | Extreme Summer | Typical Shoulder | Extreme Winter | MPC | High Performance Building | Dense Occupancy | Energy Saving Behavior | TES
Atlanta | Load Shed | 8.776% | 12.46% | No test | Pending | Pending | 9.99% | 3.39% | 7.05% | No test
| Load Shift | 9.9% | 12.07% | No test | Pending | Pending | Pending | 4.431% | 10.65% | No test
Buffalo | Load Shed | 7.166% | 10.64% | No test | Pending | Pending | 9.545% | 6.312% | 7.592% | No test
| Load Shift | 7.617% | 11.76% | No test | Pending | Pending | 6.403% | 6.554% | 7.553% | No test
New York | Load Shed | 20.21% | 17.02% | 3.725% | Pending | Pending | 21.74% | 8.182% | 22.01% | No test
| Load Shift | 19.02% | 14.07% | 2.891% | Pending | Pending | 20.32% | 7.185% | 20.72% | No test
Tucson | Load Shed | 8.442% | 18.07% | 1.432% | Pending | Pending | 10.81% | 6.532% | 8.006% | No test
| Load Shift | 7.913% | 18.7% | 4.545% | Pending | Pending | 9.714% | 5.804% | 8.905% | No test | 0%
(b) Demand decrease percentage (HVAC system and personal equipment)

## legend
-1 | -0.95 | -0.9 | -0.85 | -0.8 | -0.75 | -0.7 | -0.65 | -0.6 | -0.55 | -0.5 | -0.45 | -0.4 | -0.35 | -0.3 | -0.25 | -0.2 | -0.15 | -0.1 | -0.05 | 0 | 0.05 | 0.1 | 0.15 | 0.2 | 0.25 | 0.3 | 0.35 | 0.4 | 0.45 | 0.5 | 0.55 | 0.6 | 0.65 | 0.7 | 0.75 | 0.8 | 0.85 | 0.9 | 0.95 | 1
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60